UPSMON FOR LINUX README

upsmon  PM1   PM2  PM3

- upsmon has 3 parameters, PM1、PM2 and PM3

- PM1: COMPORT => ttyS0 (COM1 of UNIX) or ttyS1 (COM2 of UNIX)

It must include the path when you appoint the parameter PM1 (Ex: /dev/ttyS0)

Please be noted that PM1 must be appointed.

- PM2: It is for setting the breakout delay time default: 60 sec. If PM2 don’t be appointed, the breakout delay time will be 60 seconds.

- PM3: It is for setting the UPS shutdown delay time default: 60 sec. If PM3 don’t be appointed, the UPS shutdown delay time will be 60 seconds.

./upsmon /dev/ttyS0 300 60

Note: The Caps is considered different with Low case in UNIX.

Installation step must use root LOGIN:

- Copy upsmon.tar to /etc directory.

- use “tar xvf upsmon.tar “ to install software.

- It will be created a upsmon directory.

- Change to upsmon directory.

- Test UPSMON and comport:

Use commend ./upsmon /dev/ttyS0 300 60  ( “./upsmon” must be included when you use this commend)

Means: ./upsmon COM1 300 seconds AC fail count and 60 seconds UPS shutdown delay.

You will see UPS CONNECT OR NO CONNECT UPS in tty1 (ctrl_alt_F1)

If it didn’t connect UPS, you can use the commend “kill PID” to delete the process of UPSMON

Then, use commend ./upsmon /dev/ttyS1 300 60 (“./upsmon” must be included when you use this commend)

Means: ./upsmon COM2 300 seconds AC fail count and 60 seconds UPS shutdown delay.

If it still doesn’t connect, please check the CABLE、 PC and UPS are all be connected correctly.

- After the connection confirmed, please edit the system setup file rc.local under /etc/rc.d/rc.local and add the following commend to edit rc.local:

/etc/upsmon/upsmon /dev/ttyS0 300 60

or

/etc/upsmon/upsmon /dev/ttyS1 300 60

The system will execute upsmon after restart the computer.

- You can see the situation of UPS if you use the commend ./upsdisp under directory /etc/upsmon (“./upsmon” must be included when you use this commend)

- Use CTRL-C, you can exit UPSDISP.

- The UPS Event Log file save to: /etc/upsmon/PCMYYMM.log.

(PS.The YY is year and the MM is month.)

- The down file is a shutdown script and you can edit it by yourself.